|  |  |
| --- | --- |
| Day 1 | 8:00 am – 4:00 pm |
| 8:00 – 8:30 am | Welcome & Introductions |
| 8:30 – 9:00 am | Common Pump Types |
| 9:00 – 9:10 am | Break |
| 9:10 – 9:45 am | Electrical Safety |
| 9:45 – 10:15 am | Power Supplies & Transfer Switches |
| 10:15 – 10:25 am | Break |
| 10:25 – 12:00 pm | Pump Room Overview |
| 12:00– 1:00 pm | Lunch |
| 1:00 – 1:30 pm | Pump Room Inspection Exercise |
| 1:30 – 1:40 pm | Break |
| 1:40 – 2:15 pm | Pump Piping and Jockey Pumps |
| 2:15 – 2:30 pm | Water Storage Tanks |
| 2:30 – 2:40 pm | Break |
| 2:40 – 3:15 pm | No-Flow Test – Electric Fire Pump |
| 3:15 – 4:00 pm | No-Flow Test – Diesel Fire Pump |

|  |  |
| --- | --- |
| Day 2 | 8:00 am – 3:00 pm |
| 8:00 – 8:50 am | Annual Pump Testing Setup |
| 8:50 – 9:00 am | Break |
| 9:00 – 9:30 am | Flow Test Equipment Review |
| 9:30 – 10:00 am | Annual Flow Test Planning Exercise |
| 10:00 – 10:10 am | Break |
| 10:10 – 11:00 am | Annual Inspection and Coupling Inspection Exercise |
| 11:00 – 12:00 pm | Annual Flow Test – Electric Fire Pump |
| 12:00– 1:00 pm | Lunch |
| 1:00 – 1:30 pm | Annual Flow Test – Diesel Fire Pump |
| 1:40 – 2:15 pm | Reports and Graphing Pump Test Results |
| 2:15 – 2:25 pm | Break |
| 2:25 – 2:45 pm | Common Pump Problems |
| 2:45 – 3:00 pm | Skills Book and Feedback Form |